## Slide 1: Interpolation for the alignment of Clock Frequency Data
January, 16, 2026
Suzanne Thornton, NIST PREP Associate, SED

## Slide 2: Missingness in comb data
©Nicholas McIntosh Photography
©Robert Rathe
Missing Al comb nu: 233
Missing Sr comb nu: 203
Missing Yb comb nu: 417

## Slide 3: Summary of “not good” shift data
©Nicholas McIntosh Photography
©Robert Rathe
The following summaries represent how many shift data points were deemed “not good” based on the IS_GOOD indicator for each clock.
NA Al shift values: 81164
NA Sr shift values: 0
NA Yb shift values: 515

## Slide 4: Visualizing all shift data
©Nicholas McIntosh Photography
©Robert Rathe

## Slide 5: Determining an overlapping window of observations
©Nicholas McIntosh Photography
©Robert Rathe
Comb start and end MJD: [ 60752.742818 , 60753.031848 ]
Al good shift start and end MJD: [ 60752.9509491 , 60753.0115278 ]
Sr good shift start and end MJD: [ 60752.78983432031 , 60753.01555496421 ]
Yb good shift start and end MJD: [ 60752.87540139 , 60753.01171893 ]
Last start time: 60752.9509491
First end time: 60753.0115278

## Slide 6: Overlapping window of observations
©Nicholas McIntosh Photography
©Robert Rathe
In this example, the results of filtering only the data that lie between the last start time and first end time are as follows.
nuAl, nuSr, and nuYb start and end MJD: [ 60752.950939 , 60753.011522 ]
Al good shift start and end MJD: [ 60752.9509491 , 60753.0115162 ]
Sr good shift start and end MJD: [ 60752.95094887931 , 60753.01144822278 ]
Yb good shift start and end MJD: [ 60752.94844731 , 60753.01152291 ]

## Slide 7: Comparing MDJ for comb and shift data
©Nicholas McIntosh Photography
©Robert Rathe
Can see the need for interpolation due to misalignment in order to derive a ratio time series
Clarify distinction between missing data and misaligned data.
Can incorporate an interpolation limit

## Slide 8: Time-based linear interpolation
©Nicholas McIntosh Photography
©Robert Rathe
Uses the actual time difference to construct the interpolation formula.
is the interpolated value to be substituted for the missing observation at time
and are the known values surrounding the missing data with corresponding time indices and
The rate of change between the two known points is assumed to be constant in this technique. However the overall rate of change for the time series can vary.

## Slide 9: Interpolation via Kalman filter smoothing
©Nicholas McIntosh Photography
©Robert Rathe
TEXT

## Slide 10: Other interpolation techniques
©Nicholas McIntosh Photography
©Robert Rathe
TEXT

## Slide 11: TITLE
©Nicholas McIntosh Photography
©Robert Rathe
TEXT

## Slide 12: TITLE
©Nicholas McIntosh Photography
©Robert Rathe
TEXT